## Slide 1: Spectrometers for Continuum Emission around Al K-edge

## Slide 2: What we once agreed on
KAP (flat) spectrometer with large spectral range -> for overview of source spectrum but not for transmission spectroscopy
APD (flat) spectrometer with two crystals
Mica (R=150mm) FSSR -> imaging spectrometer
Shielding
Magnet
Frontside emission since transmission through 1um Au, Sm and 10um Teflon is only a few %

## Slide 3: ADP Spectrometer
PHELIX
Ions
ADP
ADP
E (trans spec)
E (source spec)
6.9mm
27.6mm
Camera Chip
View on Camera Chip
Backlighter
Sample
Topview

## Slide 4
PHELIX
Ions
ADP
ADP
E (trans spec)
E (source spec)
6.9mm
27.6mm
Camera Chip
View on Camera Chip
TCC
Sample
Topview

## Slide 5: ADP Spectrometer
PHELIX
ADP
Camera Chip
Backlighter
Sample
Sideview
(crystals behind each other in this view)
The rotation in this view changes projected angles in topview in order to still fulfill Bragg condition
Also influences spectrometer length (which is calculated in spectrometer plane)
(of course also a rotation of crystal and chip would be possible)

## Slide 6
PHELIX
ADP
Camera Chip
TCC
Sample

## Slide 7: Constraints ADP Spectrometer
Crystal length (should be ok, but check)
Resolution better than 0.5eV -> in particular source broadening
Spectral range at least 1550-1600eV (would be good to cover up to 1600 also for Al He alpha emission)
Distance backlighter to sample at least 3mm
sample at most 1mm

## Slide 8
Dependence of sample length on Bragg angles (and influence of source size on sample length) as in von-Hamos geometry
Formulas concerning geometry different because spectral range on chip differnt (furthermore not necessarily symmetric path lengths on both sides of the crystal)
Source broadening different -> source size 1:1 on chip
General thoughts concerning rotated camera (two crystal 2C) setup

## Slide 9
(H: spectrometer height)
crystal length
Calculation of Crystal Length

## Slide 10
ions
sample length
laser
Calculation of Sample Length

## Slide 11
ions
sample length
laser
sample length = source size
(also some crystal length)
Influence of Source Size

## Slide 12
ions
laser
source size direclty is spatial broadening on detector
Source Broadening
(drawing symmetric, but does not have to be)

## Slide 13
Calculating crystal length for rotated cam
crystal length
chip length
(0,0)
offset
L/2
dist_2
dist_3

## Slide 14: Equations

## Slide 15
Sum over cols = 0 |  |  |  |  | 
 | Crystal length | H | offset | L | 1
 |  |  |  |  | - Chip length
 | -1 |  |  |  | 
 |  | -1 | -1 |  | 
1 |  |  |  | -1 | 
Sum over cols = 0 |  |  |  |  | 
 | Crystal length | H | offset | L | 1
 |  |  |  |  | - Chip length
 | -1 |  |  |  | 
 |  | -1 | -1 |  | 
1 |  |  |  | -1 | 

## Slide 16: New Equation needed
Einsetzen liefert:
with , ,

## Slide 17
Equations = 0 |  |  |  |  | 
 | Crystal length | H | offset | L | 1
-AC | -AB |  |  |  | Chip length
 |  |  |  |  | - Chip length
 | -1 |  |  |  | 
 |  | -1 | -1 |  | 
1 |  |  |  | -1 | 
Equations = 0 |  |  |  |  | 
 | Crystal length | H | offset | L | 1
-AC | -AB |  |  |  | Chip length
 |  |  |  |  | - Chip length
 | -1 |  |  |  | 
 |  | -1 | -1 |  | 
1 |  |  |  | -1 | 
Implementing this systerm of equations shows that Equatsion I and II are equal.

## Slide 18
The system of equations still has the freedom whether more path is covered before or after the crystal.
We choose offset =0 as the as this is required to image the two beam paths (one through Al and one as referencne) on the camera

## Slide 19
Sum over cols = 0 |  |  |  | 
 | Crystal length | H | L | 1
 |  |  |  | - Chip length
 | -1 |  |  | 
 |  | -1 |  | 
1 |  |  | -1 | 
Sum over cols = 0 |  |  |  | 
 | Crystal length | H | L | 1
 |  |  |  | - Chip length
 | -1 |  |  | 
 |  | -1 |  | 
1 |  |  | -1 | 

## Slide 20
ADP d_ADP = 10.64e-10 m/ 2 | Min. spectral range | Minimum spectral resolution | Compromise
 |  | 1670 eV | 1620 eV
 |  | 1540 eV | 1540 eV
Bragg angles | 46.75°-48.75° | 44.25°-49.18° | 46.00°-49.18°
eV smearing/100um source size | 0.18 |  | 0.30
Sample length/distance | 0.077 | 0.18 | 0.12
Crystal size | <4cm | <4cm | <4cm
Spectrometer Length | 34.9 cm | 14.7 cm | 22.1 cm
Space: shielding |  | little | 
Space: magnet |  | little | 
Comments |  |  | 
ADP d_ADP = 10.64e-10 m/ 2 | Min. spectral range | Minimum spectral resolution | Compromise
 |  | 1670 eV | 1620 eV
 |  | 1540 eV | 1540 eV
Bragg angles | 46.75°-48.75° | 44.25°-49.18° | 46.00°-49.18°
eV smearing/100um source size | 0.18 |  | 0.30
Sample length/distance | 0.077 | 0.18 | 0.12
Crystal size | <4cm | <4cm | <4cm
Spectrometer Length | 34.9 cm | 14.7 cm | 22.1 cm
Space: shielding |  | little | 
Space: magnet |  | little | 
Comments |  |  | 
ADP Spectrometer Stats
Crystals from Jena have the following size: l x w x h: 40 mm x 30 mm x 2 mm

## Slide 21
 | Quartz (1) | PET (1) | Mica (2) | Mica (1) | KAP (2) | KAP (1)
Sample length/ distance | 0.55 | 0.35 | 0.11 | 0.016 | 0.036 | 0.011
Spectrometer length | 4.9 cm | 7.6cm | 24.0cm | 1.66m | 75.4cm (passt noch nicht ganz in die Ecke der Targetkammer) | 2.5m
Sample length/ distance | 0.55 | 0.35 | 0.11 | 0.016 | 0.036 | 0.011
Spectrometer length | 4.9 cm | 7.6cm | 24.0cm | 1.66m | 75.4cm (passt noch nicht ganz in die Ecke der Targetkammer) | 2.5m
Ecke der Targetkammer meint hier:
PHELIX
Ions
Unter 53 deg gehen ca. 70cm Spektrometer Länge in 2 crytals on 1 camera Setup
Stats for alternative crystal materials

## Slide 22
 | Mica (2) | Mica (1) | KAP (2) | KAP (1)
Sample length/ distance | 0.26 | 0.040 | 0.087 | 0.027
Spectrometer length | 10.3cm | 66.7cm (funktioniert in der Ecke der Targetkammer) | 30.9cm | 1.0m
Sample length/ distance | 0.26 | 0.040 | 0.087 | 0.027
Spectrometer length | 10.3cm | 66.7cm (funktioniert in der Ecke der Targetkammer) | 30.9cm | 1.0m
KAP 1st order at max. distance of around 0.7 m -> 180eV spectral range
-> 2/3eV resolution
-> Ausdehnung der X-rays auf sample in 3mm Distanz ca. 100um. Oder nur kleinere spectral range tatsächlich nutzen?

## Slide 23
Ideas/Questions:
Is ADP spectrometer as proposed above too bulky?
Two separate single-path spectrometers instead of bulky „ADP absoprtion spectrometer“ (would mean 4 spectrometers in total)

## Slide 24
Very small sample_len/dist would enable to rotate spectrometer…
One has to ensure that heating homogenous over probed area
This would be in particular possible for small Bragg angles like for KAP (or mica) in first order
But it is hard to fit in the required spectrometer size (for smaller sizes, one has to sacrifice resolution as a larger spectral range is imaged onto detector

## Slide 25: Rotated 2C Spectrometer
PHELIX
KAP?
KAP?
E (trans spec)
E (source spec)
6.9mm
27.6mm
Camera Chip
View on Camera Chip
Backlighter
Sample
Sideview
Zentraler Block für Ionenabschirmung. Wird nicht in unserem Experiment da sein. Deshalb noch eine Abschirmung an dieser Stelle einbauen.

## Slide 26: Rotated 2C Spectrometer
PHELIX
Backlighter
Topview
KAP?
Camera Chip
Sample
(crystals above each other in this view)
Ions
!!! The smaller the Bragg angles, the more critical becomes this rotation as it reduces the projected angle in sideview !!!

## Slide 27: Agreements on 11/28/22
Two crystal ADP spectrometer (no KAP)
mica FSSR spectrometer
overview KAP spectrometer (could look from above -> space is sufficient)

## Slide 28: Still open questions
Can FSSR spectrometer give the overview spectra? Does it fit simultaneously with other absorption spectrometer (would make overview spectrometer useless?)

## Slide 29
Gedreht aus Ebene (wie für KAP-Kandidaten) empfindlich gegenüber Laser Fluktuationen (Variierung der geprobten Region senkrecht zu Ionenstrahl). Aber ist eigentlich analog für Spektrometer in Ebene. Wenn Quelle um 100um springt, varriiert geprobte Region auch um 100um - epsilon
Empfindlichkeit der Geo gegenüber Unsicherheiten in backlighter und sample position untersuchen….

## Slide 30: Überlegungen zu Anordnung FSSR…
Rotating FSSR accordingly to target alignment for other spectrometer? Or two target types? Imaging quality?
Going out of plane necessary to keep space for laser beam?